## Menu
StarGen Lite Stochastic Daily Security Constrained Unit Commitment
Diego Alejandro Tejada, Pedro Sánchez y Andrés Ramos
http://www.iit.upcomillas.es/aramos/
andres.ramos@upcomillas.es
Run
Load results

## Indices
* indices
| n | hours | / | h001 | * | h024 | /
| l | type startup | / | su1 | * | su5 | /
| sc | scenarios | / | sc01 | * | sc03 | /
| i | bus | / | 1 | * | 2 | /
| c | circuit ID | / | 1 |  |  | /
| g | generation units | /
* |  |  |  | thermal generation
gen01
gen02
gen03
gen04
gen05
gen06
gen07
gen08
gen09
gen10
/

## Parameters
* parameters
* cost of energy non served |  |  |  | [€/MWh]
| pENSCost |  | = | 10000 | ;
* Network Constraints: 1 considered, 0 otherwise
| pNetworkConst |  | = | 0 | ;
* Enable iterative algorithm for N-1 Constraints
| pEnableIterAlg |  | = | 0 | ;
* S Base |  |  |  | [MVA]
| pSBase |  | = | 100 | ;
* Formulation: 0-TC, 1-ST, 2-2bin
| pModelForm |  | = | 0 | ;
* scenario probability |  |  |  | [p.u.]
| pScenProb | ('sc01') | = | 1 | ;
| pScenProb | ('sc02') | = | 0 | ;
| pScenProb | ('sc03') | = | 0 | ;

## DemandReserveIG
* demand |  | [MW] | * operating reserve |  | [MW] | * secondary reserve UP |  | [MW] | * secondary reserve DW |  | [MW] | * intermittent generation per bus | [5 empty] | [MW] | * | Distribution Factors of Loads at different busses
[19 empty] | * | Bus | Load Factor
[16 empty] | sc01 | sc02 | sc03
| h001 | 953.1708 |  | h001 | 0 |  | h001 | 46.9149 |  | h001 | 46.9149 |  | h001 | . | 1 | 0 | 0 | 0 |  | 1 | 100% | 0.09844
| h002 | 902.2337 |  | h002 | 0 |  | h002 | 27.1489 |  | h002 | 27.1489 |  | h002 | . | 1 | 0 | 0 | 0 |  |  |  | 0.060182
| h003 | 736.2215 |  | h003 | 0 |  | h003 | 32.617 |  | h003 | 32.617 |  | h003 | . | 1 | 0 | 0 | 0 |  |  |  | 0.088607
| h004 | 730.9126 |  | h004 | 0 |  | h004 | 36.4544 |  | h004 | 36.4544 |  | h004 | . | 1 | 0 | 0 | 0 |  |  |  | 0.09975
| h005 | 743.9697 |  | h005 | 0 |  | h005 | 33.4558 |  | h005 | 33.4558 |  | h005 | . | 1 | 0 | 0 | 0 |  |  |  | 0.089939
| h006 | 801.5072 |  | h006 | 0 |  | h006 | 34.0338 |  | h006 | 34.0338 |  | h006 | . | 1 | 0 | 0 | 0 |  |  |  | 0.084924
| h007 | 958.4798 |  | h007 | 0 |  | h007 | 33.1187 |  | h007 | 33.1187 |  | h007 | . | 1 | 0 | 0 | 0 |  |  |  | 0.069107
| h008 | 1170.1201 |  | h008 | 0 |  | h008 | 50.7483 |  | h008 | 50.7483 |  | h008 | . | 1 | 0 | 0 | 0 |  |  |  | 0.08674
| h009 | 1366.5511 |  | h009 | 0 |  | h009 | 44.726 |  | h009 | 44.726 |  | h009 | . | 1 | 0 | 0 | 0 |  |  |  | 0.065458
| h010 | 1427.6757 |  | h010 | 0 |  | h010 | 59.2193 |  | h010 | 59.2193 |  | h010 | . | 1 | 0 | 0 | 0 |  |  |  | 0.082959
| h011 | 1434.85 |  | h011 | 0 |  | h011 | 70.9952 |  | h011 | 70.9952 |  | h011 | . | 1 | 0 | 0 | 0 |  |  |  | 0.098958
| h012 | 1453.9134 |  | h012 | 0 |  | h012 | 59.6554 |  | h012 | 59.6554 |  | h012 | . | 1 | 0 | 0 | 0 |  |  |  | 0.082062
| h013 | 1428.5366 |  | h013 | 0 |  | h013 | 74.7603 |  | h013 | 74.7603 |  | h013 | . | 1 | 0 | 0 | 0 |  |  |  | 0.10467
| h014 | 1313.8921 |  | h014 | 0 |  | h014 | 66.0119 |  | h014 | 66.0119 |  | h014 | . | 1 | 0 | 0 | 0 |  |  |  | 0.10048
| h015 | 1354.6419 |  | h015 | 0 |  | h015 | 73.851 |  | h015 | 73.851 |  | h015 | . | 1 | 0 | 0 | 0 |  |  |  | 0.10903
| h016 | 1366.1207 |  | h016 | 0 |  | h016 | 74.9426 |  | h016 | 74.9426 |  | h016 | . | 1 | 0 | 0 | 0 |  |  |  | 0.10972
| h017 | 1360.2378 |  | h017 | 0 |  | h017 | 41.2586 |  | h017 | 41.2586 |  | h017 | . | 1 | 0 | 0 | 0 |  |  |  | 0.060664
| h018 | 1322.6447 |  | h018 | 0 |  | h018 | 51.4529 |  | h018 | 51.4529 |  | h018 | . | 1 | 0 | 0 | 0 |  |  |  | 0.077803
| h019 | 1270.7031 |  | h019 | 0 |  | h019 | 66.3917 |  | h019 | 66.3917 |  | h019 | . | 1 | 0 | 0 | 0 |  |  |  | 0.1045
| h020 | 1287.9213 |  | h020 | 0 |  | h020 | 64.9859 |  | h020 | 64.9859 |  | h020 | . | 1 | 0 | 0 | 0 |  |  |  | 0.10092
| h021 | 1323.6491 |  | h021 | 0 |  | h021 | 49.4469 |  | h021 | 49.4469 |  | h021 | . | 1 | 0 | 0 | 0 |  |  |  | 0.074713
| h022 | 1255.6372 |  | h022 | 0 |  | h022 | 38.6041 |  | h022 | 38.6041 |  | h022 | . | 1 | 0 | 0 | 0 |  |  |  | 0.061489
| h023 | 1141.5666 |  | h023 | 0 |  | h023 | 62.5773 |  | h023 | 62.5773 |  | h023 | . | 1 | 0 | 0 | 0 |  |  |  | 0.10963
| h024 | 1034.9573 |  | h024 | 0 |  | h024 | 34.0675 |  | h024 | 34.0675 |  | h024 | . | 1 | 0 | 0 | 0 |  |  |  | 0.065834

## Generation
* |  |  | DownTtimeforSU1 must be equal to MinTD
* |  |  | MinTD must be equal to SDduration + Suduration-i + minimun time that the unit must be offline
* thermal generation | [19 empty] | * StartUP duration |  |  |  | * Previous Down time for type of Start up: Down Time for SU1<SU2<SU3… | [5 empty] | *Startup cost
|  | Bus | MaxProd | MinProd | IniProd | RampUp | RampDw | SUCap | SDCap | FuelCost | SlopeVarCost | InterVarCost | OMVarCost | MinTU | MinTD | SDduration | ShutdownCost | SUduration1 | SUduration2 | SUduration3 | SUduration4 | SUduration5 | DownTtimeforSU1 | DownTtimeforSU2 | DownTtimeforSU3 | DownTtimeforSU4 | DownTtimeforSU5 | SUcost1 | SUcost2 | SUcost3 | SUcost4 | SUcost5
* |  | Ord | [MW] | [MW] | [MW] | [MW/h] | [MW/h] | [MW] | [MW] | [€/te] | [te/MWh] | [te/h] | [€/MWh] | [h] | [h] | [h] | [te] | [h] | [h] | [h] | [h] | [h] | [h] | [h] | [h] | [h] | [h] | [te] | [te] | [te] | [te] | [te]
* | IEEE 118 bus test system
| gen01 | 1 | 118 | 32 | 0 | 42.0038 | 32.5991 | 32 | 32 | 1 | 43.17 | 1337.7736 | 0 | 4 | 3 | 1 | 0 | 1 | 2 |  |  |  | 3 | 6 |  |  |  | 172.8624 | 213.8831
| gen02 | 1 | 119 | 37 | 74.6666 | 31.3251 | 36.3903 | 37 | 37 | 1 | 45.0867 | 1362.6561 | 0 | 3 | 3 | 1 | 0 | 1 | 2 |  |  |  | 3 | 6 |  |  |  | 168.6856 | 211.5276
| gen03 | 1 | 105 | 48 | 0 | 20.6323 | 21.8314 | 48 | 48 | 1 | 40.4601 | 1377.1167 | 0 | 4 | 3 | 1 | 0 | 1 | 2 |  |  |  | 3 | 6 |  |  |  | 162.2027 | 200.6485
| gen04 | 1 | 113 | 48 | 85.048 | 27.8691 | 27.0918 | 48 | 48 | 1 | 49.0079 | 1511.8219 | 0 | 3 | 4 | 2 | 0 | 4 | 7 |  |  |  | 4 | 8 |  |  |  | 160.2192 | 202.5946
| gen05 | 1 | 102 | 47 | 0 | 22.2043 | 27.4173 | 47 | 47 | 1 | 45.543 | 1468.9589 | 0 | 3 | 3 | 2 | 0 | 4 | 7 |  |  |  | 3 | 5 |  |  |  | 159.16 | 194.541
| gen06 | 1 | 190 | 50 | 68.1692 | 51.6945 | 61.7029 | 50 | 50 | 1 | 63.0836 | 2577.7978 | 0 | 8 | 8 | 1 | 0 | 1 | 2 |  |  |  | 8 | 12 |  |  |  | 265.617 | 328.6794
| gen07 | 1 | 208 | 62 | 120.1635 | 67.0645 | 49.7156 | 62 | 62 | 1 | 59.2174 | 2430.5154 | 0 | 7 | 8 | 1 | 0 | 2 | 4 |  |  |  | 8 | 11 |  |  |  | 273.4166 | 332.6141
| gen08 | 1 | 211 | 55 | 72.6558 | 64.1396 | 69.1787 | 55 | 55 | 1 | 64.9229 | 2624.9358 | 0 | 8 | 8 | 1 | 0 | 1 | 2 |  |  |  | 8 | 10 |  |  |  | 306.2162 | 369.95
| gen09 | 1 | 282 | 85 | 0 | 89.6182 | 78.7514 | 85 | 85 | 1 | 61.1883 | 3033.0455 | 0 | 13 | 14 | 1 | 0 | 1 | 2 |  |  |  | 14 | 18 |  |  |  | 445.8425 | 506.9749
| gen10 | 1 | 323 | 84 | 118.6748 | 101.1404 | 99.5972 | 84 | 84 | 1 | 54.3468 | 3057.5952 | 0 | 14 | 12 | 2 | 0 | 4 | 7 |  |  |  | 12 | 16 |  |  |  | 466.4246 | 520.7711
The MinTD must be equal to SDduration + SUduration(max) + minimun time that the unit must be offline
The MaxDWTime1 Must be equal to MinTD
* hydro generation
|  | Bus | MaxProd | MinProd | MaxCons | TotEnergy | Max2ndResUP |  |  | Min2ndResUP | Tot2ndResUP | Max2ndResDW | Min2ndResDW | Tot2ndResDW
* |  | Ord | [MW] | [MW] | [MW] | [MWh] | [MW] |  |  | [MW] | [MWh] | [MW] | [MW] | [MWh]
* | Pumped hydro
* | Mixed hydro
* | Simple hydro
Note on L8: Se usa valor de 1, para que coincidad los valores con los datos del caso de IEEE de Andrés Ramos
Note on T8: Hot StartUp
Note on U8: Cold StartUp

## Network
1
* Network Information
[6 empty] | InService | EnableCont | R | X | Pmax | Pctmax
* | From bus i |  | To bus j |  | Circuit ID | [0 - 1] | [0 - 1] | [p.u.] | [p.u.] | [MW] | [MW]
| 1 | . | 2 | . | 1 | 1 | 0 | 0.01 | 0.1 | 1000 | 1000
Note on M4: Potencia máxima en contingencia (capacidad de emergencia)
Note on H5: For steady state 0: out of service 1: In service
Note on I5: 0: Not enable 1: enable