## Menu
StarGen Lite Stochastic Daily Security Constrained Unit Commitment
Diego Alejandro Tejada, Pedro Sánchez y Andrés Ramos
http://www.iit.upcomillas.es/aramos/
andres.ramos@upcomillas.es
Run
Load results

## Indices
* indices
| n | hours | / | h001 | * | h024 | /
| l | type startup | / | su1 | * | su5 | /
| sc | scenarios | / | sc01 | * | sc03 | /
| i | bus | / | 1 | * | 118 | /
| c | circuit ID | / | 1 | * | 2 | /
| g | generation units | /
* |  |  |  | thermal generation
gen01
gen02
gen03
gen04
gen05
gen06
gen07
gen08
gen09
gen10
gen11
gen12
gen13
gen14
gen15
gen16
gen17
gen18
gen19
gen20
gen21
gen22
gen23
gen24
gen25
gen26
gen27
gen28
gen29
gen30
gen31
gen32
gen33
gen34
gen35
gen36
gen37
gen38
gen39
gen40
gen41
gen42
gen43
gen44
gen45
gen46
gen47
gen48
gen49
gen50
gen51
gen52
gen53
gen54
/

## Parameters
* parameters
* cost of energy non served |  |  |  | [€/MWh]
| pENSCost |  | = | 10000 | ;
* Network Constraints: 1 considered, 0 otherwise
| pNetworkConst |  | = | 0 | ;
* Enable iterative algorithm for N-1 Constraints
| pEnableIterAlg |  | = | 0 | ;
* S Base |  |  |  | [MVA]
| pSBase |  | = | 100 | ;
* Formulation: 0-TC, 1-ST, 2-2bin
| pModelForm |  | = | 0 | ;
* scenario probability |  |  |  | [p.u.]
| pScenProb | ('sc01') | = | 1 | ;
| pScenProb | ('sc02') | = | 0 | ;
| pScenProb | ('sc03') | = | 0 | ;

## DemandReserveIG
* demand |  | [MW] | * operating reserve |  | [MW] | * secondary reserve UP |  | [MW] | * secondary reserve DW |  | [MW] | * intermittent generation per bus | [5 empty] | [MW] | * | Distribution Factors of Loads at different busses
[19 empty] | * | Bus | Load Factor
[16 empty] | sc01 | sc02 | sc03
| h001 | 3314.4 |  | h001 | 0 |  | h001 | 99.432 |  | h001 | 66.288 |  | h001 | . | 36 | 298.3476 | 0 | 0 |  | 1 | 1.45%
| h002 | 3010.72 |  | h002 | 0 |  | h002 | 90.3216 |  | h002 | 60.2144 |  | h002 | . | 36 | 286.4136 | 0 | 0 |  | 2 | 0.569%
| h003 | 2403.36 |  | h003 | 0 |  | h003 | 72.1008 |  | h003 | 48.0672 |  | h003 | . | 36 | 262.3592 | 0 | 0 |  | 3 | 1.109%
| h004 | 1036.8 |  | h004 | 0 |  | h004 | 31.104 |  | h004 | 20.736 |  | h004 | . | 36 | 245.3438 | 0 | 0 |  | 4 | 0.853%
| h005 | 1796 |  | h005 | 0 |  | h005 | 53.88 |  | h005 | 35.92 |  | h005 | . | 36 | 241.4783 | 0 | 0 |  | 6 | 1.479%
| h006 | 2555.2 |  | h006 | 0 |  | h006 | 76.656 |  | h006 | 51.104 |  | h006 | . | 36 | 236.1718 | 0 | 0 |  | 7 | 0.54%
| h007 | 3314.4 |  | h007 | 0 |  | h007 | 99.432 |  | h007 | 66.288 |  | h007 | . | 36 | 206.8014 | 0 | 0 |  | 11 | 1.991%
| h008 | 3921.76 |  | h008 | 0 |  | h008 | 117.6528 |  | h008 | 78.4352 |  | h008 | . | 36 | 189.9918 | 0 | 0 |  | 12 | 1.336%
| h009 | 4225.44 |  | h009 | 0 |  | h009 | 126.7632 |  | h009 | 84.5088 |  | h009 | . | 36 | 199.0568 | 0 | 0 |  | 13 | 0.967%
| h010 | 4680.96 |  | h010 | 0 |  | h010 | 140.4288 |  | h010 | 93.6192 |  | h010 | . | 36 | 201.8424 | 0 | 0 |  | 14 | 0.398%
| h011 | 4756.88 |  | h011 | 0 |  | h011 | 142.7064 |  | h011 | 95.1376 |  | h011 | . | 36 | 200.2155 | 0 | 0 |  | 15 | 2.559%
| h012 | 4377.28 |  | h012 | 0 |  | h012 | 131.3184 |  | h012 | 87.5456 |  | h012 | . | 36 | 193.8599 | 0 | 0 |  | 16 | 0.711%
| h013 | 4073.6 |  | h013 | 0 |  | h013 | 122.208 |  | h013 | 81.472 |  | h013 | . | 36 | 191.5138 | 0 | 0 |  | 17 | 0.313%
| h014 | 3769.92 |  | h014 | 0 |  | h014 | 113.0976 |  | h014 | 75.3984 |  | h014 | . | 36 | 183.0563 | 0 | 0 |  | 18 | 1.706%
| h015 | 4680.96 |  | h015 | 0 |  | h015 | 140.4288 |  | h015 | 93.6192 |  | h015 | . | 36 | 180.039 | 0 | 0 |  | 19 | 1.28%
| h016 | 4832.8 |  | h016 | 0 |  | h016 | 144.984 |  | h016 | 96.656 |  | h016 | . | 36 | 188.7017 | 0 | 0 |  | 20 | 0.512%
| h017 | 4453.2 |  | h017 | 0 |  | h017 | 133.596 |  | h017 | 89.064 |  | h017 | . | 36 | 172.9794 | 0 | 0 |  | 21 | 0.398%
| h018 | 4756.88 |  | h018 | 0 |  | h018 | 142.7064 |  | h018 | 95.1376 |  | h018 | . | 36 | 150.4056 | 0 | 0 |  | 22 | 0.284%
| h019 | 5136.48 |  | h019 | 0 |  | h019 | 154.0944 |  | h019 | 102.7296 |  | h019 | . | 36 | 168.0662 | 0 | 0 |  | 23 | 0.199%
| h020 | 5440.16 |  | h020 | 0 |  | h020 | 163.2048 |  | h020 | 108.8032 |  | h020 | . | 36 | 209.1006 | 0 | 0 |  | 27 | 1.763%
| h021 | 5592 |  | h021 | 0 |  | h021 | 167.76 |  | h021 | 111.84 |  | h021 | . | 36 | 222.7448 | 0 | 0 |  | 28 | 0.484%
| h022 | 4832.8 |  | h022 | 0 |  | h022 | 144.984 |  | h022 | 96.656 |  | h022 | . | 36 | 237.355 | 0 | 0 |  | 29 | 0.683%
| h023 | 4605.04 |  | h023 | 0 |  | h023 | 138.1512 |  | h023 | 92.1008 |  | h023 | . | 36 | 273.6885 | 0 | 0 |  | 31 | 1.223%
| h024 | 4225.44 |  | h024 | 0 |  | h024 | 126.7632 |  | h024 | 84.5088 |  | h024 | . | 36 | 300.6566 | 0 | 0 |  | 32 | 1.678%
[20 empty] | 33 | 0.654%
[13 empty] | h001 | . | 77 | 516.2255 | 0 | 0 |  | 34 | 1.678%
[13 empty] | h002 | . | 77 | 502.94 | 0 | 0 |  | 35 | 0.938%
[13 empty] | h003 | . | 77 | 478.783 | 0 | 0 |  | 36 | 0.882%
[13 empty] | h004 | . | 77 | 458.9357 | 0 | 0 |  | 39 | 0.723%
[13 empty] | h005 | . | 77 | 422.0934 | 0 | 0 |  | 40 | 0.536%
[13 empty] | h006 | . | 77 | 345.0516 | 0 | 0 |  | 41 | 0.991%
[13 empty] | h007 | . | 77 | 268.868 | 0 | 0 |  | 42 | 0.991%
[13 empty] | h008 | . | 77 | 196.8793 | 0 | 0 |  | 43 | 0.482%
[13 empty] | h009 | . | 77 | 141.8051 | 0 | 0 |  | 44 | 0.429%
[13 empty] | h010 | . | 77 | 143.3656 | 0 | 0 |  | 45 | 1.42%
[13 empty] | h011 | . | 77 | 195.6933 | 0 | 0 |  | 46 | 0.75%
[13 empty] | h012 | . | 77 | 217.0243 | 0 | 0 |  | 47 | 0.911%
[13 empty] | h013 | . | 77 | 224.9984 | 0 | 0 |  | 48 | 0.536%
[13 empty] | h014 | . | 77 | 226.7971 | 0 | 0 |  | 49 | 2.331%
[13 empty] | h015 | . | 77 | 199.7633 | 0 | 0 |  | 50 | 0.455%
[13 empty] | h016 | . | 77 | 201.657 | 0 | 0 |  | 51 | 0.455%
[13 empty] | h017 | . | 77 | 198.5602 | 0 | 0 |  | 52 | 0.482%
[13 empty] | h018 | . | 77 | 184.963 | 0 | 0 |  | 53 | 0.616%
[13 empty] | h019 | . | 77 | 189.5412 | 0 | 0 |  | 54 | 3.027%
[13 empty] | h020 | . | 77 | 235.4299 | 0 | 0 |  | 55 | 1.688%
[13 empty] | h021 | . | 77 | 299.8349 | 0 | 0 |  | 56 | 2.25%
[13 empty] | h022 | . | 77 | 316.8814 | 0 | 0 |  | 57 | 0.321%
[13 empty] | h023 | . | 77 | 299.9566 | 0 | 0 |  | 58 | 0.321%
[13 empty] | h024 | . | 77 | 266.3818 | 0 | 0 |  | 59 | 7.42%
[20 empty] | 60 | 2.089%
[13 empty] | h001 | . | 69 | 514.2761 | 0 | 0 |  | 62 | 2.063%
[13 empty] | h002 | . | 69 | 525.5434 | 0 | 0 |  | 66 | 1.045%
[13 empty] | h003 | . | 69 | 520.6495 | 0 | 0 |  | 67 | 0.75%
[13 empty] | h004 | . | 69 | 501.9308 | 0 | 0 |  | 70 | 1.768%
[13 empty] | h005 | . | 69 | 491.2758 | 0 | 0 |  | 74 | 1.822%
[13 empty] | h006 | . | 69 | 489.4297 | 0 | 0 |  | 75 | 1.259%
[13 empty] | h007 | . | 69 | 448.8092 | 0 | 0 |  | 76 | 1.822%
[13 empty] | h008 | . | 69 | 362.3405 | 0 | 0 |  | 77 | 1.634%
[13 empty] | h009 | . | 69 | 295.169 | 0 | 0 |  | 78 | 1.902%
[13 empty] | h010 | . | 69 | 277.374 | 0 | 0 |  | 79 | 1.045%
[13 empty] | h011 | . | 69 | 283.6939 | 0 | 0 |  | 80 | 3.482%
[13 empty] | h012 | . | 69 | 280.4356 | 0 | 0 |  | 82 | 1.447%
[13 empty] | h013 | . | 69 | 265.3771 | 0 | 0 |  | 83 | 0.536%
[13 empty] | h014 | . | 69 | 251.3905 | 0 | 0 |  | 84 | 0.295%
[13 empty] | h015 | . | 69 | 252.808 | 0 | 0 |  | 85 | 0.643%
[13 empty] | h016 | . | 69 | 271.0736 | 0 | 0 |  | 86 | 0.563%
[13 empty] | h017 | . | 69 | 285.4143 | 0 | 0 |  | 88 | 1.286%
[13 empty] | h018 | . | 69 | 307.0776 | 0 | 0 |  | 90 | 2.089%
[13 empty] | h019 | . | 69 | 309.6075 | 0 | 0 |  | 92 | 1.741%
[13 empty] | h020 | . | 69 | 327.8323 | 0 | 0 |  | 93 | 0.321%
[13 empty] | h021 | . | 69 | 406.5706 | 0 | 0 |  | 94 | 0.804%
[13 empty] | h022 | . | 69 | 463.3887 | 0 | 0 |  | 95 | 1.125%
[13 empty] | h023 | . | 69 | 499.1555 | 0 | 0 |  | 96 | 1.018%
[13 empty] | h024 | . | 69 | 516.1629 | 0 | 0 |  | 97 | 0.402%
[20 empty] | 98 | 0.911%
[20 empty] | 100 | 0.991%
[20 empty] | 101 | 0.589%
[20 empty] | 102 | 0.134%
[20 empty] | 103 | 0.616%
[20 empty] | 104 | 1.018%
[20 empty] | 105 | 0.83%
[20 empty] | 106 | 1.152%
[20 empty] | 107 | 0.75%
[20 empty] | 108 | 0.054%
[20 empty] | 109 | 0.214%
[20 empty] | 110 | 1.045%
[20 empty] | 112 | 0.67%
[20 empty] | 114 | 0.227%
[20 empty] | 115 | 0.625%
[20 empty] | 117 | 0.569%
[20 empty] | 118 | 0.884%

## Generation
* |  |  | DownTtimeforSU1 must be equal to MinTD
* |  |  | MinTD must be equal to SDduration + Suduration-i + minimun time that the unit must be offline
* thermal generation | [19 empty] | * StartUP duration |  |  |  | * Previous Down time for type of Start up: Down Time for SU1<SU2<SU3… | [5 empty] | *Startup cost
|  | Bus | MaxProd | MinProd | IniProd | RampUp | RampDw | SUCap | SDCap | FuelCost | SlopeVarCost | InterVarCost | OMVarCost | MinTU | MinTD | SDduration | ShutdownCost | SUduration1 | SUduration2 | SUduration3 | SUduration4 | SUduration5 | DownTtimeforSU1 | DownTtimeforSU2 | DownTtimeforSU3 | DownTtimeforSU4 | DownTtimeforSU5 | SUcost1 | SUcost2 | SUcost3 | SUcost4 | SUcost5
* |  | Ord | [MW] | [MW] | [MW] | [MW/h] | [MW/h] | [MW] | [MW] | [€/te] | [te/MWh] | [te/h] | [€/MWh] | [h] | [h] | [h] | [te] | [h] | [h] | [h] | [h] | [h] | [h] | [h] | [h] | [h] | [h] | [te] | [te] | [te] | [te] | [te]
* | IEEE 118 bus test system
| gen01 | 4 | 30 | 5 | 30 | 5 | 5 | 5 | 5 | 1 | 27.0794 | 26.5523 | 0 | 5 | 4 | 1 | 0 | 1 | 2 |  |  |  | 4 | 6 |  |  |  | 40 | 120
| gen02 | 6 | 30 | 5 | 30 | 5 | 5 | 5 | 5 | 1 | 31.2953 | 25.854 | 0 | 5 | 4 | 1 | 0 | 1 | 2 |  |  |  | 4 | 6 |  |  |  | 40 | 120
| gen03 | 8 | 30 | 5 | 30 | 5 | 5 | 5 | 5 | 1 | 27.8997 | 26.0971 | 0 | 5 | 4 | 1 | 0 | 1 | 2 |  |  |  | 4 | 6 |  |  |  | 40 | 120
| gen04 | 10 | 300 | 150 | 0 | 150 | 150 | 150 | 150 | 1 | 12.0645 | 8.0509 | 0 | 1 | 13 | 2 | 0 | 4 | 7 |  |  |  | 13 | 16 |  |  |  | 440 | 1320
| gen05 | 12 | 300 | 100 | 300 | 100 | 100 | 100 | 100 | 1 | 11.0387 | 7.8174 | 0 | 2 | 13 | 2 | 0 | 4 | 7 |  |  |  | 13 | 16 |  |  |  | 110 | 330
| gen06 | 15 | 30 | 10 | 30 | 10 | 10 | 10 | 10 | 1 | 28.5097 | 28.8712 | 0 | 2 | 4 | 1 | 0 | 1 | 2 |  |  |  | 4 | 6 |  |  |  | 40 | 120
| gen07 | 18 | 100 | 25 | 0 | 25 | 25 | 25 | 25 | 1 | 14.6442 | 12.2563 | 0 | 3 | 7 | 1 | 0 | 2 | 4 |  |  |  | 7 | 9 |  |  |  | 50 | 150
| gen08 | 19 | 30 | 5 | 30 | 5 | 5 | 5 | 5 | 1 | 30.4457 | 28.5056 | 0 | 5 | 4 | 1 | 0 | 1 | 2 |  |  |  | 4 | 6 |  |  |  | 40 | 120
| gen09 | 24 | 30 | 5 | 30 | 5 | 5 | 5 | 5 | 1 | 26.4362 | 26.3843 | 0 | 5 | 4 | 1 | 0 | 1 | 2 |  |  |  | 4 | 6 |  |  |  | 40 | 120
| gen10 | 25 | 300 | 100 | 300 | 100 | 100 | 100 | 100 | 1 | 11.7217 | 7.1193 | 0 | 2 | 13 | 2 | 0 | 4 | 7 |  |  |  | 13 | 16 |  |  |  | 100 | 300
| gen11 | 26 | 350 | 100 | 300 | 100 | 100 | 100 | 100 | 1 | 10.1053 | 35.5902 | 0 | 2.5 | 13 | 2 | 0 | 4 | 7 |  |  |  | 13 | 16 |  |  |  | 100 | 300
| gen12 | 27 | 30 | 8 | 0 | 8 | 8 | 8 | 8 | 1 | 29.1656 | 29.4914 | 0 | 2.75 | 4 | 1 | 0 | 1 | 2 |  |  |  | 4 | 6 |  |  |  | 40 | 120 |  |  |  | The MinTD must be equal to SDduration + SUduration(max) + minimun time that the unit must be offline
| gen13 | 31 | 30 | 8 | 0 | 8 | 8 | 8 | 8 | 1 | 30.8928 | 27.615 | 0 | 2.75 | 4 | 1 | 0 | 1 | 2 |  |  |  | 4 | 6 |  |  |  | 40 | 120
| gen14 | 32 | 100 | 25 | 0 | 25 | 25 | 25 | 25 | 1 | 14.1311 | 11.962 | 0 | 3 | 7 | 1 | 0 | 2 | 4 |  |  |  | 7 | 9 |  |  |  | 50 | 150 |  |  |  | The MaxDWTime1 Must be equal to MinTD
| gen15 | 34 | 30 | 8 | 30 | 8 | 8 | 8 | 8 | 1 | 29.7607 | 27.9502 | 0 | 2.75 | 4 | 1 | 0 | 1 | 2 |  |  |  | 4 | 6 |  |  |  | 40 | 120
| gen16 | 36 | 100 | 25 | 0 | 25 | 25 | 25 | 25 | 1 | 16.7638 | 11.6081 | 0 | 3 | 7 | 1 | 0 | 2 | 4 |  |  |  | 7 | 9 |  |  |  | 50 | 150
| gen17 | 40 | 30 | 8 | 0 | 8 | 8 | 8 | 8 | 1 | 26.7558 | 29.1707 | 0 | 2.75 | 4 | 1 | 0 | 1 | 2 |  |  |  | 4 | 6 |  |  |  | 40 | 120
| gen18 | 42 | 30 | 8 | 0 | 8 | 8 | 8 | 8 | 1 | 28.1014 | 27.2494 | 0 | 2.75 | 4 | 1 | 0 | 1 | 2 |  |  |  | 4 | 6 |  |  |  | 40 | 120
| gen19 | 46 | 100 | 25 | 0 | 25 | 25 | 25 | 25 | 1 | 14.849 | 10.6435 | 0 | 3 | 7 | 1 | 0 | 2 | 4 |  |  |  | 7 | 9 |  |  |  | 59 | 177
| gen20 | 49 | 250 | 50 | 0 | 50 | 50 | 50 | 50 | 1 | 10.8254 | 30.4811 | 0 | 4 | 13 | 2 | 0 | 4 | 7 |  |  |  | 13 | 16 |  |  |  | 100 | 300
| gen21 | 54 | 250 | 50 | 50 | 50 | 50 | 50 | 50 | 1 | 10.595 | 30.7422 | 0 | 4 | 13 | 2 | 0 | 4 | 7 |  |  |  | 13 | 16 |  |  |  | 100 | 300
| gen22 | 55 | 100 | 25 | 0 | 25 | 25 | 25 | 25 | 1 | 15.3667 | 12.5923 | 0 | 3 | 7 | 1 | 0 | 2 | 4 |  |  |  | 7 | 9 |  |  |  | 50 | 150
| gen23 | 56 | 100 | 25 | 0 | 25 | 25 | 25 | 25 | 1 | 15.1892 | 11.8744 | 0 | 3 | 7 | 1 | 0 | 2 | 4 |  |  |  | 7 | 9 |  |  |  | 50 | 150
| gen24 | 59 | 200 | 50 | 0 | 50 | 50 | 50 | 50 | 1 | 11.3067 | 43.0136 | 0 | 3 | 13 | 2 | 0 | 4 | 7 |  |  |  | 13 | 16 |  |  |  | 100 | 300
| gen25 | 61 | 200 | 50 | 0 | 50 | 50 | 50 | 50 | 1 | 13.0063 | 39.4916 | 0 | 3 | 13 | 2 | 0 | 4 | 7 |  |  |  | 13 | 16 |  |  |  | 100 | 300
| gen26 | 62 | 100 | 25 | 0 | 25 | 25 | 25 | 25 | 1 | 15.3379 | 12.1157 | 0 | 3 | 7 | 1 | 0 | 2 | 4 |  |  |  | 7 | 9 |  |  |  | 50 | 150
| gen27 | 65 | 420 | 100 | 100 | 100 | 100 | 100 | 100 | 1 | 7.9268 | 72.7849 | 0 | 3.2 | 15 | 2 | 0 | 5 | 8 |  |  |  | 15 | 18 |  |  |  | 250 | 750
| gen28 | 66 | 420 | 100 | 100 | 100 | 100 | 100 | 100 | 1 | 8.2823 | 69.3289 | 0 | 3.2 | 15 | 2 | 0 | 5 | 8 |  |  |  | 15 | 18 |  |  |  | 250 | 750
| gen29 | 69 | 300 | 80 | 0 | 80 | 80 | 80 | 80 | 1 | 10.9898 | 7.9096 | 0 | 2.75 | 13 | 2 | 0 | 4 | 7 |  |  |  | 13 | 16 |  |  |  | 100 | 300
| gen30 | 70 | 80 | 30 | 80 | 30 | 30 | 30 | 30 | 1 | 17.833 | 66.8332 | 0 | 1.6667 | 7 | 1 | 0 | 2 | 4 |  |  |  | 7 | 9 |  |  |  | 45 | 135
| gen31 | 72 | 30 | 10 | 0 | 10 | 10 | 10 | 10 | 1 | 29.587 | 29.3452 | 0 | 2 | 4 | 1 | 0 | 1 | 2 |  |  |  | 4 | 6 |  |  |  | 40 | 120
| gen32 | 73 | 30 | 5 | 0 | 5 | 5 | 5 | 5 | 1 | 30.8306 | 27.5912 | 0 | 5 | 4 | 1 | 0 | 1 | 2 |  |  |  | 4 | 6 |  |  |  | 40 | 120
| gen33 | 74 | 20 | 5 | 0 | 5 | 5 | 5 | 5 | 1 | 43.7487 | 15.7469 | 0 | 3 | 4 | 1 | 0 | 1 | 2 |  |  |  | 4 | 6 |  |  |  | 30 | 90
| gen34 | 76 | 100 | 25 | 25 | 25 | 25 | 25 | 25 | 1 | 15.0869 | 11.943 | 0 | 3 | 7 | 1 | 0 | 2 | 4 |  |  |  | 7 | 9 |  |  |  | 50 | 150
| gen35 | 77 | 100 | 25 | 25 | 25 | 25 | 25 | 25 | 1 | 15.1765 | 11.9316 | 0 | 3 | 7 | 1 | 0 | 2 | 4 |  |  |  | 7 | 9 |  |  |  | 50 | 150
| gen36 | 80 | 300 | 150 | 0 | 150 | 150 | 150 | 150 | 1 | 12.2788 | 8.2155 | 0 | 1 | 13 | 2 | 0 | 4 | 7 |  |  |  | 13 | 16 |  |  |  | 440 | 1320
| gen37 | 82 | 100 | 25 | 25 | 25 | 25 | 25 | 25 | 1 | 14.7326 | 11.7277 | 0 | 3 | 7 | 1 | 0 | 2 | 4 |  |  |  | 7 | 9 |  |  |  | 50 | 150
| gen38 | 85 | 30 | 10 | 0 | 10 | 10 | 10 | 10 | 1 | 29.4436 | 29.1701 | 0 | 2 | 4 | 1 | 0 | 1 | 2 |  |  |  | 4 | 6 |  |  |  | 40 | 120
| gen39 | 87 | 300 | 100 | 100 | 100 | 100 | 100 | 100 | 1 | 10.17 | 35.2943 | 0 | 2 | 13 | 2 | 0 | 4 | 7 |  |  |  | 13 | 16 |  |  |  | 440 | 1320
| gen40 | 89 | 200 | 50 | 50 | 50 | 50 | 50 | 50 | 1 | 11.14 | 7.7331 | 0 | 3 | 13 | 2 | 0 | 4 | 7 |  |  |  | 13 | 16 |  |  |  | 400 | 1200
| gen41 | 90 | 20 | 8 | 0 | 8 | 8 | 8 | 8 | 1 | 44.8722 | 15.2235 | 0 | 1.5 | 4 | 1 | 0 | 1 | 2 |  |  |  | 4 | 6 |  |  |  | 30 | 90
| gen42 | 91 | 50 | 20 | 40 | 20 | 20 | 20 | 20 | 1 | 23.8702 | 48.0512 | 0 | 1.5 | 4 | 1 | 0 | 1 | 2 |  |  |  | 4 | 6 |  |  |  | 45 | 135
| gen43 | 92 | 300 | 100 | 100 | 100 | 100 | 100 | 100 | 1 | 12.6543 | 7.2798 | 0 | 2 | 13 | 2 | 0 | 4 | 7 |  |  |  | 13 | 16 |  |  |  | 100 | 300
| gen44 | 99 | 300 | 100 | 100 | 100 | 100 | 100 | 100 | 1 | 11.17 | 7.925 | 0 | 2 | 13 | 2 | 0 | 4 | 7 |  |  |  | 13 | 16 |  |  |  | 100 | 300
| gen45 | 100 | 300 | 100 | 100 | 100 | 100 | 100 | 100 | 1 | 12.1017 | 7.4115 | 0 | 2 | 13 | 2 | 0 | 4 | 7 |  |  |  | 13 | 16 |  |  |  | 110 | 330
| gen46 | 103 | 20 | 8 | 0 | 8 | 8 | 8 | 8 | 1 | 40.362 | 16.7439 | 0 | 1.5 | 4 | 1 | 0 | 1 | 2 |  |  |  | 4 | 6 |  |  |  | 30 | 90
| gen47 | 104 | 100 | 25 | 0 | 25 | 25 | 25 | 25 | 1 | 14.7318 | 11.2448 | 0 | 3 | 7 | 1 | 0 | 2 | 4 |  |  |  | 7 | 9 |  |  |  | 50 | 150
| gen48 | 105 | 100 | 25 | 0 | 25 | 25 | 25 | 25 | 1 | 15.4127 | 11.2506 | 0 | 3 | 7 | 1 | 0 | 2 | 4 |  |  |  | 7 | 9 |  |  |  | 50 | 150
| gen49 | 107 | 20 | 8 | 0 | 8 | 8 | 8 | 8 | 1 | 40.5471 | 15.772 | 0 | 1.5 | 4 | 1 | 0 | 1 | 2 |  |  |  | 4 | 6 |  |  |  | 30 | 90
| gen50 | 110 | 50 | 25 | 40 | 25 | 25 | 25 | 25 | 1 | 25.2811 | 48.8847 | 0 | 1 | 4 | 1 | 0 | 1 | 2 |  |  |  | 4 | 6 |  |  |  | 45 | 135
| gen51 | 111 | 100 | 25 | 0 | 25 | 25 | 25 | 25 | 1 | 15.0095 | 11.1755 | 0 | 3 | 7 | 1 | 0 | 2 | 4 |  |  |  | 7 | 9 |  |  |  | 50 | 150
| gen52 | 112 | 100 | 25 | 0 | 25 | 25 | 25 | 25 | 1 | 15.0124 | 10.9263 | 0 | 3 | 7 | 1 | 0 | 2 | 4 |  |  |  | 7 | 9 |  |  |  | 50 | 150
| gen53 | 113 | 100 | 25 | 0 | 25 | 25 | 25 | 25 | 1 | 16.2176 | 12.0374 | 0 | 3 | 7 | 1 | 0 | 2 | 4 |  |  |  | 7 | 9 |  |  |  | 50 | 150
| gen54 | 116 | 50 | 25 | 50 | 25 | 25 | 25 | 25 | 1 | 26.7263 | 50.6793 | 0 | 1 | 4 | 1 | 0 | 1 | 2 |  |  |  | 4 | 6 |  |  |  | 45 | 135
* hydro generation
|  | Bus | MaxProd | MinProd | MaxCons | TotEnergy | Max2ndResUP |  |  | Min2ndResUP | Tot2ndResUP | Max2ndResDW | Min2ndResDW | Tot2ndResDW
* |  | Ord | [MW] | [MW] | [MW] | [MWh] | [MW] |  |  | [MW] | [MWh] | [MW] | [MW] | [MWh]
* | Pumped hydro
* | Mixed hydro
* | Simple hydro
Note on L8: Se usa valor de 1, para que coincidad los valores con los datos del caso de IEEE de Andrés Ramos
Note on T8: Hot StartUp
Note on U8: Cold StartUp

## Network
1
* Network Information
[6 empty] | InService | EnableCont | R | X | Pmax | Pctmax
* | From bus i |  | To bus j |  | Circuit ID | [0 - 1] | [0 - 1] | [p.u.] | [p.u.] | [MW] | [MW]
| 1 | . | 2 | . | 1 | 1 | 0 | 0.0303 | 0.0999 | 175 | 175
| 1 | . | 3 | . | 1 | 1 | 0 | 0.0129 | 0.0424 | 175 | 175
| 4 | . | 5 | . | 1 | 1 | 0 | 0.00176 | 0.00798 | 500 | 500
| 3 | . | 5 | . | 1 | 1 | 0 | 0.0241 | 0.108 | 175 | 175
| 5 | . | 6 | . | 1 | 1 | 0 | 0.0119 | 0.054 | 175 | 175
| 6 | . | 7 | . | 1 | 1 | 0 | 0.00459 | 0.0208 | 175 | 175
| 8 | . | 9 | . | 1 | 1 | 0 | 0.00244 | 0.0305 | 500 | 500
| 8 | . | 5 | . | 1 | 1 | 0 | 0 | 0.0267 | 500 | 500
| 9 | . | 10 | . | 1 | 1 | 0 | 0.00258 | 0.0322 | 500 | 500
| 4 | . | 11 | . | 1 | 1 | 0 | 0.0209 | 0.0688 | 175 | 175
| 5 | . | 11 | . | 1 | 1 | 0 | 0.0203 | 0.0682 | 175 | 175
| 11 | . | 12 | . | 1 | 1 | 0 | 0.00595 | 0.0196 | 175 | 175
| 2 | . | 12 | . | 1 | 1 | 0 | 0.0187 | 0.0616 | 175 | 175
| 3 | . | 12 | . | 1 | 1 | 0 | 0.0484 | 0.16 | 175 | 175
| 7 | . | 12 | . | 1 | 1 | 0 | 0.00862 | 0.034 | 175 | 175
| 11 | . | 13 | . | 1 | 1 | 0 | 0.02225 | 0.0731 | 175 | 175
| 12 | . | 14 | . | 1 | 1 | 0 | 0.0215 | 0.0707 | 175 | 175
| 13 | . | 15 | . | 1 | 1 | 0 | 0.0744 | 0.2444 | 175 | 175
| 14 | . | 15 | . | 1 | 1 | 0 | 0.0595 | 0.195 | 175 | 175
| 12 | . | 16 | . | 1 | 1 | 0 | 0.0212 | 0.0834 | 175 | 175
| 15 | . | 17 | . | 1 | 1 | 0 | 0.0132 | 0.0437 | 500 | 500
| 16 | . | 17 | . | 1 | 1 | 0 | 0.0454 | 0.1801 | 175 | 175
| 17 | . | 18 | . | 1 | 1 | 0 | 0.0123 | 0.0505 | 175 | 175
| 18 | . | 19 | . | 1 | 1 | 0 | 0.01119 | 0.0493 | 175 | 175
| 19 | . | 20 | . | 1 | 1 | 0 | 0.0252 | 0.117 | 175 | 175
| 15 | . | 19 | . | 1 | 1 | 0 | 0.012 | 0.0394 | 175 | 175
| 20 | . | 21 | . | 1 | 1 | 0 | 0.0183 | 0.0849 | 175 | 175
| 21 | . | 22 | . | 1 | 1 | 0 | 0.0209 | 0.097 | 175 | 175
| 22 | . | 23 | . | 1 | 1 | 0 | 0.0342 | 0.159 | 175 | 175
| 23 | . | 24 | . | 1 | 1 | 0 | 0.0135 | 0.0492 | 175 | 175
| 23 | . | 25 | . | 1 | 1 | 0 | 0.0156 | 0.08 | 500 | 500
| 26 | . | 25 | . | 1 | 1 | 0 | 0 | 0.0382 | 500 | 500
| 25 | . | 27 | . | 1 | 1 | 0 | 0.0318 | 0.163 | 500 | 500
| 27 | . | 28 | . | 1 | 1 | 0 | 0.01913 | 0.0855 | 175 | 175
| 28 | . | 29 | . | 1 | 1 | 0 | 0.0237 | 0.0943 | 175 | 175
| 30 | . | 17 | . | 1 | 1 | 0 | 0 | 0.0388 | 500 | 500
| 8 | . | 30 | . | 1 | 1 | 0 | 0.00431 | 0.0504 | 175 | 175
| 26 | . | 30 | . | 1 | 1 | 0 | 0.00799 | 0.086 | 500 | 500
| 17 | . | 31 | . | 1 | 1 | 0 | 0.0474 | 0.1563 | 175 | 175
| 29 | . | 31 | . | 1 | 1 | 0 | 0.0108 | 0.0331 | 175 | 175
| 23 | . | 32 | . | 1 | 1 | 0 | 0.0317 | 0.1153 | 140 | 140
| 31 | . | 32 | . | 1 | 1 | 0 | 0.0298 | 0.0985 | 175 | 175
| 27 | . | 32 | . | 1 | 1 | 0 | 0.0229 | 0.0755 | 175 | 175
| 15 | . | 33 | . | 1 | 1 | 0 | 0.038 | 0.1244 | 175 | 175
| 19 | . | 34 | . | 1 | 1 | 0 | 0.0752 | 0.247 | 175 | 175
| 35 | . | 36 | . | 1 | 1 | 0 | 0.00224 | 0.0102 | 175 | 175
| 35 | . | 37 | . | 1 | 1 | 0 | 0.011 | 0.0497 | 175 | 175
| 33 | . | 37 | . | 1 | 1 | 0 | 0.0415 | 0.142 | 175 | 175
| 34 | . | 36 | . | 1 | 1 | 0 | 0.00871 | 0.0268 | 175 | 175
| 34 | . | 37 | . | 1 | 1 | 0 | 0.00256 | 0.0094 | 500 | 500
| 38 | . | 37 | . | 1 | 1 | 0 | 0 | 0.0375 | 500 | 500
| 37 | . | 39 | . | 1 | 1 | 0 | 0.0321 | 0.106 | 175 | 175
| 37 | . | 40 | . | 1 | 1 | 0 | 0.0593 | 0.168 | 175 | 175
| 30 | . | 38 | . | 1 | 1 | 0 | 0.00464 | 0.054 | 175 | 175
| 39 | . | 40 | . | 1 | 1 | 0 | 0.0184 | 0.0605 | 175 | 175
| 40 | . | 41 | . | 1 | 1 | 0 | 0.0145 | 0.0487 | 175 | 175
| 40 | . | 42 | . | 1 | 1 | 0 | 0.0555 | 0.183 | 175 | 175
| 41 | . | 42 | . | 1 | 1 | 0 | 0.041 | 0.135 | 175 | 175
| 43 | . | 44 | . | 1 | 1 | 0 | 0.0608 | 0.2454 | 175 | 175
| 34 | . | 43 | . | 1 | 1 | 0 | 0.0413 | 0.1681 | 175 | 175
| 44 | . | 45 | . | 1 | 1 | 0 | 0.0224 | 0.0901 | 175 | 175
| 45 | . | 46 | . | 1 | 1 | 0 | 0.04 | 0.1356 | 175 | 175
| 46 | . | 47 | . | 1 | 1 | 0 | 0.038 | 0.127 | 175 | 175
| 46 | . | 48 | . | 1 | 1 | 0 | 0.0601 | 0.189 | 175 | 175
| 47 | . | 49 | . | 1 | 1 | 0 | 0.0191 | 0.0625 | 175 | 175
| 42 | . | 49 | . | 1 | 1 | 0 | 0.0715 | 0.323 | 175 | 175
| 42 | . | 49 | . | 2 | 1 | 0 | 0.0715 | 0.323 | 175 | 175
| 45 | . | 49 | . | 1 | 1 | 0 | 0.0684 | 0.186 | 175 | 175
| 48 | . | 49 | . | 1 | 1 | 0 | 0.0179 | 0.0505 | 175 | 175
| 49 | . | 50 | . | 1 | 1 | 0 | 0.0267 | 0.0752 | 175 | 175
| 49 | . | 51 | . | 1 | 1 | 0 | 0.0486 | 0.137 | 175 | 175
| 51 | . | 52 | . | 1 | 1 | 0 | 0.0203 | 0.0588 | 175 | 175
| 52 | . | 53 | . | 1 | 1 | 0 | 0.0405 | 0.1635 | 175 | 175
| 53 | . | 54 | . | 1 | 1 | 0 | 0.0263 | 0.122 | 175 | 175
| 49 | . | 54 | . | 1 | 1 | 0 | 0.073 | 0.289 | 175 | 175
| 49 | . | 54 | . | 2 | 1 | 0 | 0.0869 | 0.291 | 175 | 175
| 54 | . | 55 | . | 1 | 1 | 0 | 0.0169 | 0.0707 | 175 | 175
| 54 | . | 56 | . | 1 | 1 | 0 | 0.00275 | 0.00955 | 175 | 175
| 55 | . | 56 | . | 1 | 1 | 0 | 0.00488 | 0.0151 | 175 | 175
| 56 | . | 57 | . | 1 | 1 | 0 | 0.0343 | 0.0966 | 175 | 175
| 50 | . | 57 | . | 1 | 1 | 0 | 0.0474 | 0.134 | 175 | 175
| 56 | . | 58 | . | 1 | 1 | 0 | 0.0343 | 0.0966 | 175 | 175
| 51 | . | 58 | . | 1 | 1 | 0 | 0.0255 | 0.0719 | 175 | 175
| 54 | . | 59 | . | 1 | 1 | 0 | 0.0503 | 0.2293 | 175 | 175
| 56 | . | 59 | . | 1 | 1 | 0 | 0.0825 | 0.251 | 175 | 175
| 56 | . | 59 | . | 2 | 1 | 0 | 0.0803 | 0.239 | 175 | 175
| 55 | . | 59 | . | 1 | 1 | 0 | 0.04739 | 0.2158 | 175 | 175
| 59 | . | 60 | . | 1 | 1 | 0 | 0.0317 | 0.145 | 175 | 175
| 59 | . | 61 | . | 1 | 1 | 0 | 0.0328 | 0.15 | 175 | 175
| 60 | . | 61 | . | 1 | 1 | 0 | 0.00264 | 0.0135 | 500 | 500
| 60 | . | 62 | . | 1 | 1 | 0 | 0.0123 | 0.0561 | 175 | 175
| 61 | . | 62 | . | 1 | 1 | 0 | 0.00824 | 0.0376 | 175 | 175
| 63 | . | 59 | . | 1 | 1 | 0 | 0 | 0.0386 | 500 | 500
| 63 | . | 64 | . | 1 | 1 | 0 | 0.00172 | 0.02 | 500 | 500
| 64 | . | 61 | . | 1 | 1 | 0 | 0 | 0.0268 | 500 | 500
| 38 | . | 65 | . | 1 | 1 | 0 | 0.00901 | 0.0986 | 500 | 500
| 64 | . | 65 | . | 1 | 1 | 0 | 0.00269 | 0.0302 | 500 | 500
| 49 | . | 66 | . | 1 | 1 | 0 | 0.018 | 0.0919 | 500 | 500
| 49 | . | 66 | . | 2 | 1 | 0 | 0.018 | 0.0919 | 500 | 500
| 62 | . | 66 | . | 1 | 1 | 0 | 0.0482 | 0.218 | 175 | 175
| 62 | . | 67 | . | 1 | 1 | 0 | 0.0258 | 0.117 | 175 | 175
| 65 | . | 66 | . | 1 | 1 | 0 | 0 | 0.037 | 500 | 500
| 66 | . | 67 | . | 1 | 1 | 0 | 0.0224 | 0.1015 | 175 | 175
| 65 | . | 68 | . | 1 | 1 | 0 | 0.00138 | 0.016 | 500 | 500
| 47 | . | 69 | . | 1 | 1 | 0 | 0.0844 | 0.2778 | 175 | 175
| 49 | . | 69 | . | 1 | 1 | 0 | 0.0985 | 0.324 | 175 | 175
| 68 | . | 69 | . | 1 | 1 | 0 | 0 | 0.037 | 500 | 500
| 69 | . | 70 | . | 1 | 1 | 0 | 0.03 | 0.127 | 500 | 500
| 24 | . | 70 | . | 1 | 1 | 0 | 0.00221 | 0.4115 | 175 | 175
| 70 | . | 71 | . | 1 | 1 | 0 | 0.00882 | 0.0355 | 175 | 175
| 24 | . | 72 | . | 1 | 1 | 0 | 0.0488 | 0.196 | 175 | 175
| 71 | . | 72 | . | 1 | 1 | 0 | 0.0446 | 0.18 | 175 | 175
| 71 | . | 73 | . | 1 | 1 | 0 | 0.00866 | 0.0454 | 175 | 175
| 70 | . | 74 | . | 1 | 1 | 0 | 0.0401 | 0.1323 | 175 | 175
| 70 | . | 75 | . | 1 | 1 | 0 | 0.0428 | 0.141 | 175 | 175
| 69 | . | 75 | . | 1 | 1 | 0 | 0.0405 | 0.122 | 500 | 500
| 74 | . | 75 | . | 1 | 1 | 0 | 0.0123 | 0.0406 | 175 | 175
| 76 | . | 77 | . | 1 | 1 | 0 | 0.0444 | 0.148 | 175 | 175
| 69 | . | 77 | . | 1 | 1 | 0 | 0.0309 | 0.101 | 175 | 175
| 75 | . | 77 | . | 1 | 1 | 0 | 0.0601 | 0.1999 | 175 | 175
| 77 | . | 78 | . | 1 | 1 | 0 | 0.00376 | 0.0124 | 175 | 175
| 78 | . | 79 | . | 1 | 1 | 0 | 0.00546 | 0.0244 | 175 | 175
| 77 | . | 80 | . | 1 | 1 | 0 | 0.017 | 0.0485 | 500 | 500
| 77 | . | 80 | . | 2 | 1 | 0 | 0.0294 | 0.105 | 500 | 500
| 79 | . | 80 | . | 1 | 1 | 0 | 0.0156 | 0.0704 | 175 | 175
| 68 | . | 81 | . | 1 | 1 | 0 | 0.00175 | 0.0202 | 500 | 500
| 81 | . | 80 | . | 1 | 1 | 0 | 0 | 0.037 | 500 | 500
| 77 | . | 82 | . | 1 | 1 | 0 | 0.0298 | 0.0853 | 200 | 200
| 82 | . | 83 | . | 1 | 1 | 0 | 0.0112 | 0.03665 | 200 | 200
| 83 | . | 84 | . | 1 | 1 | 0 | 0.0625 | 0.132 | 175 | 175
| 83 | . | 85 | . | 1 | 1 | 0 | 0.043 | 0.148 | 175 | 175
| 84 | . | 85 | . | 1 | 1 | 0 | 0.0302 | 0.0641 | 175 | 175
| 85 | . | 86 | . | 1 | 1 | 0 | 0.035 | 0.123 | 500 | 500
| 86 | . | 87 | . | 1 | 1 | 0 | 0.02828 | 0.2074 | 500 | 500
| 85 | . | 88 | . | 1 | 1 | 0 | 0.02 | 0.102 | 175 | 175
| 85 | . | 89 | . | 1 | 1 | 0 | 0.0239 | 0.173 | 175 | 175
| 88 | . | 89 | . | 1 | 1 | 0 | 0.0139 | 0.0712 | 500 | 500
| 89 | . | 90 | . | 1 | 1 | 0 | 0.0518 | 0.188 | 500 | 500
| 89 | . | 90 | . | 2 | 1 | 0 | 0.0238 | 0.0997 | 500 | 500
| 90 | . | 91 | . | 1 | 1 | 0 | 0.0254 | 0.0836 | 175 | 175
| 89 | . | 92 | . | 1 | 1 | 0 | 0.0099 | 0.0505 | 500 | 500
| 89 | . | 92 | . | 2 | 1 | 0 | 0.0393 | 0.1581 | 500 | 500
| 91 | . | 92 | . | 1 | 1 | 0 | 0.0387 | 0.1272 | 175 | 175
| 92 | . | 93 | . | 1 | 1 | 0 | 0.0258 | 0.0848 | 175 | 175
| 92 | . | 94 | . | 1 | 1 | 0 | 0.0481 | 0.158 | 175 | 175
| 93 | . | 94 | . | 1 | 1 | 0 | 0.0223 | 0.0732 | 175 | 175
| 94 | . | 95 | . | 1 | 1 | 0 | 0.0132 | 0.0434 | 175 | 175
| 80 | . | 96 | . | 1 | 1 | 0 | 0.0356 | 0.182 | 175 | 175
| 82 | . | 96 | . | 1 | 1 | 0 | 0.0162 | 0.053 | 175 | 175
| 94 | . | 96 | . | 1 | 1 | 0 | 0.0269 | 0.0869 | 175 | 175
| 80 | . | 97 | . | 1 | 1 | 0 | 0.0183 | 0.0934 | 175 | 175
| 80 | . | 98 | . | 1 | 1 | 0 | 0.0238 | 0.108 | 175 | 175
| 80 | . | 99 | . | 1 | 1 | 0 | 0.0454 | 0.206 | 200 | 200
| 92 | . | 100 | . | 1 | 1 | 0 | 0.0648 | 0.295 | 175 | 175
| 94 | . | 100 | . | 1 | 1 | 0 | 0.0178 | 0.058 | 175 | 175
| 95 | . | 96 | . | 1 | 1 | 0 | 0.0171 | 0.0547 | 175 | 175
| 96 | . | 97 | . | 1 | 1 | 0 | 0.0173 | 0.0885 | 175 | 175
| 98 | . | 100 | . | 1 | 1 | 0 | 0.0397 | 0.179 | 175 | 175
| 99 | . | 100 | . | 1 | 1 | 0 | 0.018 | 0.0813 | 175 | 175
| 100 | . | 101 | . | 1 | 1 | 0 | 0.0277 | 0.1262 | 175 | 175
| 92 | . | 102 | . | 1 | 1 | 0 | 0.0123 | 0.0559 | 175 | 175
| 101 | . | 102 | . | 1 | 1 | 0 | 0.0246 | 0.112 | 175 | 175
| 100 | . | 103 | . | 1 | 1 | 0 | 0.016 | 0.0525 | 500 | 500
| 100 | . | 104 | . | 1 | 1 | 0 | 0.0451 | 0.204 | 175 | 175
| 103 | . | 104 | . | 1 | 1 | 0 | 0.0466 | 0.1584 | 175 | 175
| 103 | . | 105 | . | 1 | 1 | 0 | 0.0535 | 0.1625 | 175 | 175
| 100 | . | 106 | . | 1 | 1 | 0 | 0.0605 | 0.229 | 175 | 175
| 104 | . | 105 | . | 1 | 1 | 0 | 0.00994 | 0.0378 | 175 | 175
| 105 | . | 106 | . | 1 | 1 | 0 | 0.014 | 0.0547 | 175 | 175
| 105 | . | 107 | . | 1 | 1 | 0 | 0.053 | 0.183 | 175 | 175
| 105 | . | 108 | . | 1 | 1 | 0 | 0.0261 | 0.0703 | 175 | 175
| 106 | . | 107 | . | 1 | 1 | 0 | 0.053 | 0.183 | 175 | 175
| 108 | . | 109 | . | 1 | 1 | 0 | 0.0105 | 0.0288 | 175 | 175
| 103 | . | 110 | . | 1 | 1 | 0 | 0.03906 | 0.1813 | 175 | 175
| 109 | . | 110 | . | 1 | 1 | 0 | 0.0278 | 0.0762 | 175 | 175
| 110 | . | 111 | . | 1 | 1 | 0 | 0.022 | 0.0755 | 175 | 175
| 110 | . | 112 | . | 1 | 1 | 0 | 0.0247 | 0.064 | 175 | 175
| 17 | . | 113 | . | 1 | 1 | 0 | 0.00913 | 0.0301 | 175 | 175
| 32 | . | 113 | . | 1 | 1 | 0 | 0.0615 | 0.203 | 500 | 500
| 32 | . | 114 | . | 1 | 1 | 0 | 0.0135 | 0.0612 | 175 | 175
| 27 | . | 115 | . | 1 | 1 | 0 | 0.0164 | 0.0741 | 175 | 175
| 114 | . | 115 | . | 1 | 1 | 0 | 0.0023 | 0.0104 | 175 | 175
| 68 | . | 116 | . | 1 | 1 | 0 | 0.00034 | 0.00405 | 500 | 500
| 12 | . | 117 | . | 1 | 1 | 0 | 0.0329 | 0.14 | 175 | 175
| 75 | . | 118 | . | 1 | 1 | 0 | 0.0145 | 0.0481 | 175 | 175
| 76 | . | 118 | . | 1 | 1 | 0 | 0.0164 | 0.0544 | 175 | 175
Note on M4: Potencia máxima en contingencia (capacidad de emergencia)
Note on H5: For steady state 0: out of service 1: In service
Note on I5: 0: Not enable 1: enable